Tissue Reactions to Self-Reinforced Plain and Ciprofloxacin-Releasing Polylactide-Polyglycolide 80/20 Screws in Rabbits’ Cranial Bone and Bone Tissue Concentrations of Ciprofloxacin Released from Polylactide-Polyglycolide 80/20 Screws Implanted in Rabbits’ Cranial Bone

Johanna Tiainen1, MD, Ylermi Soini2, MD, PhD, Minna Veiranto3, MSc(Eng), Pertti Törmälä3, MD, PhD, Sci.h.c., Esa Suokas4, Dr. Tech.,  Timo Waris5, MD, PhD and Nureddin Ashammakhi3,5, MD, PhD, FRCEd

- Department of Surgery, Oulu University Hospital, Oulu, Finland.

- Department of Pathology, Oulu University, Oulu, Finland.

- Institute of Biomaterials, Tampere University of Technology, Tampere, Finland.

- Linvatec Biomaterials Ltd., Tampere, Finland.

- Department of Surgery, Tampere University Hospital and University of Tampere, Tampere, Finland.

The aim of this study was to assess tissue reactions to bioabsorbable self-reinforced polylactide/polyglycolide (SR-PLGA) 80/20 miniscrews and ciprofloxacin-releasing polylactide/polyglycolide (SR-PLGA) 80/20 miniscrews in rabbits’ cranial bone and assess tissue concentrations of ciprofloxacin released from bioabsorbable self-reinforced polylactide/polyglycolide (SR-PLGA) 80/20 miniscrews in rabbits’ cranial bone. The study was divided into two different experiments.

In the first experiment one plain PLGA screw was implanted on one side and one titanium screw on the other side of the sagittal suture (n=21). Three animals were sacrificed after 2, 4, 8, 16, 24, 54 and 72 weeks. In histological examination the numbers of macrophages, giant cells, active osteoblasts and fibrous tissue layers were assessed and degradation of the bioabsorbable screws was evaluated. After two weeks, macrophages were seen near the heads of both screws. After 4 and 8 weeks, the bioabsorbable screws were surrounded by fibrous tissue. Osteoblastic activity and groups of several giant cells were seen. After 24 weeks, a significant change in the morphology of the PLGA screws had occurred. Osteoblastic activity and the amount of giant cells had decreased. After one year, some PLGA biomaterial was still present. PLGA screws had been replaced by adipose tissue, fibrous tissue and “foamy macrophages” which had PLGA particles inside them. After 1½ years, the amount of biomaterial remaining had decreased remarkably. The particles of biomaterial were inside “foamy macrophages”. SR-PLGA 80/20 screws elicited only a mild inflammatory reaction when implanted in rabbit cranial bone. No contraindications regarding their clinical use were found.

In the second experiment two ciprofloxacin-releasing PLGA (80/20) screws were implanted in each rabbit, one screw on either side of the sagittal suture (n=20 rabbits). Animals were sacrificed after 2, 4, 8, 16 and 24 weeks, four animals per group. From each rabbit two blocks of bone, each containing one screw were retrieved. One block was used to assess tissue drug concentration. The other block was used for histological examination. On histological examination the number of macrophages, giant cells, active osteoblasts and fibrous tissue layers were assessed and degradation of the screws was evaluated. At 2 weeks, the highest number of giant cells was seen near the heads of the screws. After 4 and 8 weeks, the number of giant cells decreased but that of macrophages decreased from 16 weeks and on. Screws were surrounded by fibrous tissue capsule that progressively was growing in thickness by time. Active osteoblasts were seen around the shaft of the screws with the highest number seen at 4 weeks postoperatively. At 16 weeks, compact fragmentation of the screw heads was seen with macrophages seen inside the screw matrices. After 24 weeks, no polarization of the screws was seen. Ciprofloxacin-releasing SR-PLGA 80/20 screws elicited a mild inflammatory reaction but did not interfere with osteoblast activity. No complications were seen. The release level of ciprofloxacin was moderate in the first two weeks (mean 4390.0 ng/g). After 4 weeks the release level started to rise (mean 14100.0 ng/g) and stayed in top levels up to 8 weeks (mean 7590.0 ng/g). From 16 weeks (mean 90.7 ng/g) to 24 weeks (mean 40.3 ng/g) release levels were very low. Ciprofloxacin-releasing SR-PLGA 80/20 screws released gradually the loaded antibiotic. They could be used clinically as infection prophylaxis and osteofixation in craniomaxillofacial surgery in nonload-bearing or slightly load-bearing applications.

Keywords: ciprofloxacin, cranial bone, rabbit, SR-PLGA, tissue reaction, titanium